## example
| F1: Seawater | F2: NF permeate | F3: NF concentrate | F4: MED brine | F5: MED water | F6: Thermal Cryst water | F7: Thermal Cryst salt | F8: NF antiscalant | F9: MED Cooling water | F10: Thermal Cryst Cooling water
flow rate | 124783 | 87348.1 | 37434.9 | 11448.73 | 77480.67 | 43463.48 | 5420.15 | 0 | 1422516.3 | 1522277.24
| F1: Seawater | F2: NF permeate | F3: NF concentrate | F4: MED brine | F5: MED water | F6: Thermal Cryst water | F7: Thermal Cryst salt
0 | 12.33 | 10.3572 | 16.9332 | 80.4508 | 0 | 0 | 3.1241
1 | 21.67 | 15.3857 | 36.3334 | 119.5103 | 0 | 0 | 6.7034
2 | 0.45 | 0.3555 | 0.6705 | 2.7614 | 0 | 0 | 0.12371
3 | 1.39 | 0.0278 | 4.5685 | 0.21594 | 0 | 0 | 0.84287
4 | 0.45 | 0.0225 | 1.4475 | 0.17477 | 0 | 0 | 0.26706
5 | 3.28 | 0.0656 | 10.7803 | 0.50956 | 0 | 0 | 1.9889
| 0 |  | 0
NF | 23.8873 | NF | 0
MED | 171.8664 | MED | 27887.277
Thermal Cryst | 218.9 | Thermal Cryst | 495.45
0
Water (kg/hr) | 120944.1474
NaCl (kg/hr) | 5420.1459
Mg(OH)₂ (kg/hr) | 0
Ca(OH)₂ (kg/hr) | 0
Na₂SO₄(kg/hr) | 0
1M NaOH (kg/hr) | 0
1M HCl(kg/hr) | 0

## indicators
| 0 |  | 0
Water production | 120944.1474 | 0 | kg/hr
absolute water production | 120944.1474 | 1 | kg/hr
water recovery | 96.9236 | 2 | %
Total electrical consumption | 414.6537 | 3 | KWh
Total thermal energy consumption | 28382.727 | 4 | KWh
Carbon dioxide emission kg co2/year | 821014.3644 | 5 | kg CO₂/year
Water footprint | 0 | 6 | kg/hr
OPEX | 2511940.7617 | 7 | €/year
CAPEX | 132763.1133 | 8 | €